15th TechNet Conference
Interactive Session
Data Visibility and Action from a District Level perspective in Rivers State, Nigeria
Francis Ibama
Akuku Toru District Logistics and Cold Chain Officer

---
Nigeria is made up of 36 states across six geopolitical zones and a Federal Capital
Administrative map of Nigeria showing States and the Federal Capital
Nigeria operates a federal system of Government
2017 Projected population – 198,167,916
Number of public health facilities offering RI = 25,350
U-5 mortality rate: 125 per 1000 live births*
Rivers state is located in the south-south geopolitical zone in Nigeria.
kkm
SOURCE: Rivers State Logistics Working Group
Kebbi
Sokoto
Zamfara
Niger
Kaduna
Katsina
Kano
Jigawa
Borno
Plateau
Gombe
Yobe
Bauchi
Kwara
Oyo
Kogi
Nasawara
Taraba
FCT
Adamawa
Benue
Ogun
Lagos
Bayelsa
Cross River
Akwalbom
Rivers
Osun
Ekiti
Ondo
Edo
Delta
Enugu
Ebonyi
Abia
Imo
Rivers State

---
Rivers state is located in the south-south zone with 23 districts
Map of Rivers state showing the District and Senatorial Zone
Rivers state at a glance
1. RSPHCMB 2013 2. World Bank Data 2017 3. Data from NICS/MICS Survey 2016 4. Administrative Data
SOURCE: Rivers State Logistics Working Group
GDP per capita2
$3,965 USD
Immunisation coverage rates3
BCG: 82%
Penta 3: 66%
Measles: 71%
Healthcare facilities
358 public facilities
150 private facilities
Governance
Bar. Nyesom Wike
Port Harcourt
Governor
Capital
Demography1
Total population
< 1yr Population
Land mass
No. of District
No. of wards
7,490,451
299,618
11,0777 Km2
23
319

---
The Immunization Supply Chain in Nigeria
Vaccine travel
Vaccine travel
Vaccine travel
Vaccine travel
National Strategic
Cold Store
Manufacturer
District Level
Cold Stores
State Cold Stores
Health Facilities
Zonal Cold Stores
3
2
1
DATA
DATA
DATA
Vaccines
administration
4
Data is generated at all levels of the immunization supply chain system
Mother & Child
[Speaker Notes: Describe the immunization supply chain system in Nigeria Describe what data exist across each level and the flow of data across the multiple levels Discuss how the data at/from the district level affects the level above (State) and below (HF)]

---
Previous Status of Cold Chain Logistics System
Timely access to vaccines stock balances not always available
Unverifiable wastage rates in some health facilities.
Poor data entry practice in some health facilities
3. Poor maintenance of the cold chain system at lower levels.
Weak systems to uphold accountability framework.
occasional cases of vaccine used not completely accounted for by some health workers.
Inconsistent management practices for planned preventive maintenance.
Poor implementation of replacement plans for CCE.
SOURCE: Rivers State Logistics Working Group
Description
Implication
Poor data visibility
1
Poor accountability
Poor use of data for action
Poor timely access to information on vaccines stock balance to guide vaccine redistribution
1. Poor data ownership and use at lower levels.
2. Occasional under and overstocking at some health facilities.
2
3
Problem
[Speaker Notes: Describe a situation where stock had been issued based on consumption which had a negative effect on services at the service delivery level Describe how there are limited resources for maintenance and how difficult it is to prioritize which equipment should be given priority. Describe a situation where a cold chain equipment had been allocated to a site whereas it could have been better efficient in another site]

---
The Rivers State Logistics Working Group instituted a data review system through 3 key interventions to improve data visibility
Tools provided enhanced visibility and improved efficiency in our vaccine supply chain process across all districts in Rivers state
SOURCE: Rivers State Logistics Working Group
Details
Provides monthly insight into cold chain functionality status as oppose to quarterly review/updates. The inventory management system was deployed in 2013.
Cold Chain Inventory
1
Temperature monitoring dashboard
NLMIS
Screenshot
This stock management system provides a unified platform to aggregate, record and analyse stock data. This stock management system was deployed in 2015
The excel-based dashboard allows CCE temperature readings to be documented and temperature excursions flagged for timely action. This dashboard was deployed in 2016
2
3
Intervention

---
Intervention 1
Monthly Cold Chain Inventory updates
Provides monthly insight into cold chain functionality status as oppose to quarterly review/updates.
The inventory management system was deployed in 2013

---
National Logistics Management Information System (NLMIS)
Intervention 2
National Logistics Management Information System (NLMIS)
This stock management system provides a unified platform to record, aggregate and analyse stock data.
This stock management system was deployed in 2015.

---
Intervention 3
Temperature Monitoring Dashboard
The excel-based dashboard allows CCE temperature readings to be documented and temperature excursions flagged for timely action
This dashboard was deployed in November 2016

---
Data flow chart for efficient data management in Akuku-Toru District
Analytics
Multiple System/Sources
The Multiple data sources provide visibility for action
Response
Manual Compilation
Program
Vaccine Availability/Potency for uptake
Higher level Store
Ensuring vaccines availability and potency
Data Visibility
Data Visibility
[Speaker Notes: 1) Describe the flow of data across the lower and higher lever of the district store]

---
Although there are multiple systems and technology, the people, processes and policies remain the same
Cold Chain Inventory
TMC Dashboard
NLMIS
Analysis
Stock
Management
Temperature Monitoring
The various data sources provide visibility for action
CCE Monitoring
Restock all facilities based on allocation plan from the NLMIS
Response
Prioritize the CCE for CCEM based on the analytics of the TMC Data
CCE allocation & reallocation decisions are made
Manual Compilation
Program
Vaccine Availability/Potency for uptake
Higher level Store
Ensuring vaccines availability and potency
Data Visibility
Data Visibility
[Speaker Notes: 1) 1) Describe the overall stock management process that exist from the HF to the LGA and the state level, and describe how data influences the decisions being taken.]

---
Case scenario 1 – Stock Data Visibility
After deploying visibility system
Prior to deploying visibility system
Using the NLMIS platform, which includes the weekly stock balance report from the facility, I can determine when facility stock levels are at or below buffer level, or above maximum stock level. Thus, I can issue emergency stock before a stock out occurs.
Impact
In June of 2012, when I went for supportive supervision in Kula primary health center. There, I found out that vaccines in the refrigerator were overstocked much more than what was required in a month and these were not properly accounted for.
No Overstocking of vaccines at the health facility level
Health facilities can now be re-stocked to avoid stock-out
Following the introduction of the data visibility system into stock, I am now able to;
Make better allocation decisions to avoid over-stocking or stock outs
Hold higher level stores accountable due to visibility I now have into facility stock performance
[Speaker Notes: Describe how the current data visibility system into stock has made you more accountable for the vaccines in your store Describe how you have been able to hold the service delivery health workers more accountable to the vaccine provided to them.]

---
Case scenario 2 – Temperature Monitoring with Cold Chain Equipment Maintenance
Impact
After deploying visibility system
Prior to deploying visibility system
A reduction in wastage rate
Improved coordination and management of the cold chain system within the district.
This has helped in reducing CCE downtime in my district and ensure availability of safe and potent vaccines.
Now, I have insight into health facilities temperature data. Using this data, I can provide appropriate responses.
In January 2012, there was a report from Idama Primary Health Centre in Akuku-Toru district that their Refrigerator was not functioning. I had to travel to the community to access the cold chain equipment. On reaching there, I found out that the vaccine vial monitor of 60 doses of oral polio vaccine were in stage 3 as a result of the cold chain equipment breakdown.
In my resource constraint environment, this data provides evidence for me to prioritize CCEs for maintenance.
With the data visibility systems into CCE Performance, I am able to prioritize resource allocation for CCE maintenance and repairs through interpretation of the analysis
SOURCE: Rivers State Logistics Working Group
[Speaker Notes: Describe how the current data visibility system has helped you prioritize for CCE]

---
Case scenario 3 – Closing Cold Chain gaps through Equipment allocation Prioritization
After deploying visibility system
Prior to deploying visibility system
Impact
I advocated to the state Government for equity based allocation of CCEs
My district is on track to achieve the national policy of ensuring that at least one ward has a cold chain equipment, ensuring that a mother, come what may, can walk to the nearest HF with a CCE within her ward and access vaccine.
In 2011, the state allocated 3 CCEs to specific health facilities in my district. This has been a norm in the past, as allocation of CCEs has been a top down approach with little focus on equity.
Leveraging the CCE tracking system, I am able to track the availability of CCEs and prioritize allocation to wards without a functional CCE.
The introduction of visibility using the cold chain inventory tracking system, I am able to:
Equitably prioritize resource (new CCE allocation) to service delivery points within my district
[Speaker Notes: Describe how the current data visibility system has helped you prioritize CCE allocation]

---
Building a Data-Driven Culture
Training
As my understanding of the end to end supply chain system improved I became more aware of the Supply Chain gaps
Improved Government Ownership
On-the-Job Mentoring
Supportive Supervision
User Acceptance Testing
The systems introduced were user friendly and appropriate for my environment
Real Time Support
 Response
/feedback
The existence of strong governing and coordinating systems such as SLWG, RIWG, M&EWG, district data harmonization committee
TORs
Accountability Structures
Awareness of the Gaps
Simplicity and efficiency of the data visibility systems
Coordinating structures
[Speaker Notes: How did we get here: Awareness of the gap in the immunization system was the wake up call for me Why have you adopted a data driven culture: the simplicity and efficiency of the data system makes it a systems that enhances my works, and makes my work easier rather than seeing it as a burden What sustainability structures are in place: Feedback is important for a data driven culture. I remember initially, when no actions were being taken based on the data I sent out on the CCI, I stopped even collation of the data. But now I know the higher level managers depend on my evidence to take action through the SLWG, RIWG, MEWG etc, it drives me to constantly let the data drive my actions]

---
Reference
Federal Ministry of Health. (2013) Nigeria Demographic and Health Survey, Abuja, Nigeria.
www.nlmis.ng
National Primary Health Care Development Agency (2017) National Immunization Coverage Survey 2016/2017 (Publications). Available at: http://nphcda.gov.ng/publications/ (Accessed August 2017)
Rivers State Ministry of Health (2016) District Health Information System, Department of Planning Research and Statistics.